DMM-32X-AT Auto Calibration procedure.

- Put DMM32Demo.exe and dscud.dll files in one folder and run the .exe file

- Enter the correct ADD/IRQ of the DMM board ,per jumper settings.

- This is the first screen of the program

- Select measure references and check the correct values which are already saved in EEPROM on the board.

- If its not the same as above follow the instructions shown on the screen to enter the correct calmux reference voltages using a voltmeter.

- If it’s the same values as above, quit this screen and click on Auto calibration button.

5. On the next screen (bellow) run A/D and D/A calibration procedures

- You can also run a simple test for the first 7 A/D cannels by enabling the CalMux :

Same procedure can be run on DMM16 boards as well.

Diamond Systems

11/18/09